## Slide 1: Radiation Therapy Therac-25
Nurullah MERTEL
18290219

## Slide 2: Contents
Background
System Engineering Applications
Successful and Failed Processes
Improvements to the Life Cycle Stage
Conclusion
References

## Slide 3: Background
The Therac-25 was a state-of-the-art medical linear accelerator in the early 1980s, but it was plagued by software problems that led to several fatal accidents.

## Slide 4: Background
Figure 1. Typical Therac-25 facility.

## Slide 5: System Engineering Approachs
The Therac-25 failure was a classic example of a system engineering failure. System engineering is a discipline that applies engineering principles to the design and development of complex systems. The goal of system engineering is to ensure that all of the components of a system work together seamlessly to achieve the desired outcome.

## Slide 6: System Engineering Approachs
There are a number of system engineering approaches that could have been used to prevent the Therac-25 failure. This process should have included the following steps:
Define the system: The system engineers should have started by clearly defining the scope and objectives of the Therac-25 project. This includes defining the system's requirements, constraints, and assumptions.
Design the system: Once the system requirements were defined, the system engineers should have designed the overall architecture of the Therac-25. This includes designing the hardware, software, and safety features of the machine.

## Slide 7: System Engineering Approachs
Implement the system: The system engineers should have overseen the implementation of the Therac-25 design. This includes developing the software, building the hardware, and integrating the different components of the system.
Verify and validate the system: The system engineers should have verified and validated the Therac-25 to ensure that it met its requirements and was safe to use. This includes conducting testing and inspections of the system.
Deploy and support the system: Once the Therac-25 was verified and validated, the system engineers should have overseen its deployment and support. This includes providing training to users and providing maintenance and support for the system.

## Slide 8: Successful Processes
The Therac-25 was one of the most advanced medical linear accelerators of its time, and its hardware was generally reliable. It controlled every aspect of the machine, including radiation delivery.

## Slide 9: Failed Processes
The software contained several bugs that could cause the machine to deliver massive overdoses of radiation.
Therac-25's safety features were inadequate. While the machine had some safety interlocks, operators could easily bypass them.
The machine had no way to detect or prevent overdoses.

## Slide 10: Improvements to the Life Cycle Stage
The Therac-25 case teaches us that software design and testing are essential for system engineering projects. The Therac-25 software should have been thoroughly tested before it was used in hospitals. Additionally, the machine should have had more safety features to prevent radiation overdoses.

## Slide 11: Conclusion
The Therac-25 case is a stark reminder that system engineering is essential. System engineers must thoughtfully consider all aspects of a system, including software and safety, to ensure its safety and reliability.

## Slide 12: References
incose.org/publications/products/se-handbook-v4
therac.pdf (mit.edu)
An investigation of the Therac-25 accidents | IEEE Journals & Magazine | IEEE Xplore
Medical Device Recalls: Examination of Selected Cases (dtic.mil)